Breakout Session Number:  8

Session Facilitator:  Rick Harris

Facilitator Company:  Duke Energy

Session Note Taker:  Gerry Ruff

Note Taker Company:  Entergy Northeast

Industry Problem:

- Purpose and use of DBDs not defined in the business models

- DBDs not being maintained

- Resolving DBD open items

Contributors:

Problem 1

Tribal knowledge available  - “Designasauruses” are still around

No economic driver to develop and use DBDs

Problem 2

- Creeping scope on DBD content

- Reluctant ownership

- Inadequate process hooks to update DBDs

- Lack of resources

- Shared ownership

- Lack of Knowledge

- Unclear use of DBDs

- Hard to see payback

- No explicit regulatory requirement to maintain

Problem 3 contributors not identified.  See solutions

Solutions

Solution to Problem 1

- Develop examples based on lost generation

- Present argument that assets of aging work force need to be preserved ( magnified by License Renewal)

- Show benefits for Power up rates and License renewal

- Show benefits in SSDIs and direct economic impact

- Show improved work efficiency and quality in mods, JCOs and 50.59s etc..

- Provides an increase in regulatory confidence.

Solution to problem 2

- Develop a writers guide with strict content control    (a)

- Single point of control to maintain consistent – DBD czar (a),(b),(e)

- Review all procedures and revise as necessary to insert “hooks,” including mod packages (c), (f), (g)

- Planning scheduling and prioritization to (d),(b)

- Optimize revision process (d)

- Initial and continued training on DBD usage and marketing (f), (g), (h)

- Explain implicit requirements   (i)

- Eliminate duplicate info on DBDs to reduce size.  (d)

Solutions to Problem 3

- Include in scope of DBD project –Long range planning.

- Include in corrective action program (safety significant)

Summary