###### Non-Tmod Temp Alts

- Proceduralized

- Specific Application

- General Application

- Draw a “box”, in or out of box

  - Evaluate/understand Design Requirements

  - Seismic / load

  - Interactions

  - Equipment Performance

  - Evaluating Implementation

  - Risk Assessment

- Laundry List

  - Site Directive (Duke)

  - Housekeeping Procedure (Perry)

- Configuration Control of Proceduralized Temporary Alterations

- Engineering (Design Authority) reviewed

- Authorize Implementation

- Control Removal

- Notify Operational Authority (may not be necessary for some benign changes)

- Document Update (Exelon)

- Validating non T-Mods

- Quarterly (Beaver Valley)

- Monthly (Perry)

- T-mods

- Drawing Update for T-Mods

- Meta-Data (states T-Mod against drawing)

- Redline

- Drawing update (Red Lines update on weekends)

- IDCNs

- Validating T-Mods

- Quarterly

- Semi-annual with reauthorization (DC Cook)

- Monthly System Eng walkdown / health report (Exelon)

- Performance Indicators

- Most stations count Temporary Modifications

- Some count aging as well

- Few count outside Temporary Modifications

- Database risk input (Perry)

- Maintenance Indicators

- Site Support Questions?

  - How is “Team” Support initially achieved?

    - Use of PI’s (some include ageing), reduce T-Mod backlog (“Proceduralized T-mods not included)

    - Procedure Hooks

  - How do you maintain Support?

    - Training

    - Response to questions / encourage questions

    - Discipline / culture

    - Questioning attitude