## Sheet1
|  |  | VC Summer | 1 | 1000 | 1984 | Palo Verde | 3 | 1400/unit | 1985-1987 | McGuire | 2 | 1100/unit | 1981/1984 | Diablo Canyon | 2 | 1159/1164 | 1985/1986 | Bruce A | 2 Operating | 750/unit | 1977/1979 | Bruce B | 4 | 800/unit | 1984/1987 | Pickering | 8 | 515/516 | 1971/1986 | DC Cook | 2 | 1084/1107 | 1975/1978
|  |  | Actual |  | Target |  | Actual |  | Target |  | Actual |  | Target |  | Actual |  | Target |  | Actual |  | Target |  | Actual |  | Target |  | Actual |  | Target |  | Actual |  | Target
1 | Temporary Modifications
| Average # installed/unit during period |  | 0 |  |  |  | 9 |  | <3 |  | 1010 |  | 10 |  | note14 |  |  |  | 8 |  | NA |  | 29 |  | N/A |  | 2828 |  | 0 |  | 5 |  | ≤5
| Average Length installed (months) | [5 empty] | 42 |  | <3 |  | 9.5 |  | N/A |  | note15 |  |  |  | see note 23 |  |  |  | see note 27 |  |  |  | NT |  |  |  | NT
2 | Open Modifications
| # Design Complete - Install Not Started |  | 32 |  | NT |  | 73 |  | <5 |  | 116 |  | N/A |  | note16 |  | 80 |  | 762 |  | N/A |  | 931 |  | N/A |  | 634 |  | 0 |  | 167 |  | 0
| # Installation Complete - Not Turned Over |  | 0 |  | NT |  | 1 |  | <2 |  | 0 |  | N/A |  | note17 |  | NT |  | NT |  | NT |  | NT |  | NT |  | NT |  |  |  | NT
3 | Modification Package Closure Times
| Total # Turned Over to Ops/Not Closed > 90 days |  | 20 |  | 10 |  | 0 |  | 0 |  | 1157 |  | N/A |  | 8 |  | 180 day |  | 024 |  | 024 |  | 024 |  | 024 |  | 7529 |  | 0 |  | 1131 |  | 0
4 | Facility Configuration Information (FCI) Backlog
| Total # Drawing Changes Initiated/Not Closed > 90 days |  | 300 |  | NT |  | 324 |  | <30 |  | 72 |  | 300 |  | 9318 |  | note19 |  | 172525 |  | N/A |  | 130925 |  | N/A |  | 100's |  | 0 |  | NT
| Total # Database Changes Initiated/Not Closed > 90 days |  | 370 |  | NT |  | 1225 |  | <150 |  | 0 |  | N/A |  | 2320 | [11 empty] | 1000's |  | 0 |  | NT
5 | Configuration Management CRs | [9 empty] | (2010 data) |  |  |  | (1/1/11-5/30/11) | [15 empty] | (since 1/1/11)
| Total # of CRs Written |  | 315 |  | N/A | [5 empty] | 7937 |  | N/A |  | 5688 |  | NT | [13 empty] | 7119 |  | NT
| # of CM-Related CRs |  | 38 | [7 empty] | 58 |  |  |  | 257 |  |  |  | 111426 |  |  |  | 108326 | [7 empty] | 56
| % of CM-Related to Total CRs |  | 12 | [7 empty] | .73% |  |  |  | 4.5% | [15 empty] | 0.08%
6 | Number of Operator Work Arounds |  | 2 |  | 2 |  | 3 |  | 0 |  | 22 |  | N/A |  | 2 | [11 empty] | 1 |  | 1 |  | 0 |  | 0
7 | Number of SSC Mis-positions |  | 0 |  | 0 |  | 97.7%6 |  | 97% |  | 96.511 |  | 9511 |  | 9 |  | NT | [9 empty] | 430 |  | 1030 |  | 9 |  | 0
8 | Number of Corrective Maintenance Work Orders > 90 days |  | 5 |  | 3 |  | 867 |  | <75 |  | 15212 |  |  |  | 101 | [15 empty] | see note 32
9 | Other CM PIs: |  | see note 1 |  |  |  | see note 8 |  |  |  | see note 13 |  |  |  | see note 21 | [15 empty] | see note 33
10 | Do you have a composite CM score? |  | YES |  |  |  | YES |  |  |  | NO |  |  |  | YES |  |  |  | YES |  |  |  | YES |  |  |  | NO |  |  |  | YES
| If Yes, how is it calculated: |  | Use a point scale 1-4 for each indicator - total the points for composite score |  |  |  | # of white or green PI's in group of 11 PI's - see note 9 | [7 empty] | Sum of weighted values for items 1, 4 and 9 |  |  |  | Currently under review |  |  |  | Currently under review | [7 empty] | see note 34
NT = Not Tracked
NOTES SHEET 1
1 | Open NCN Action items, Active "Bypass Authorizations" (jumpers), Non-standard repairs >18 mos, Control Room discrepancies
2 | # installed >18 mos
3 | install not scheduled
4 | # of days with more than 4 incorporable amendments (age of oldest)
5 | # of open database updates
6 | SSC Misposition Index
7 | >90 days not considered
8 | Long term tagouts (>90 days), Past due Mod impact actions, Long term scaffolding (>90 days), Jumpers Installed, Equipment abandonment % complete
9 | 11 PI's in composite; OWAs, Mods at closure, database updates, long term tagouts, late mod impact actions, TMODs, long term scaffolding, jumpers, abandoned equipment, FCI backlog,% of status 1&2 amendments issued within 21 days of mod closure
10 | running total
11 | Misposition index is used
12 | 5 critical, 147 non-critical
13 | Number of OBBDs, OBDN Responsiveness (determine resolution date and not change)
14 | Actual U0 - 5, U1 -5, U2 - 6, Target U0 - 5, U1 - 5, U2 -5
15 | Actual U0 - 8, U1 - 9.8, U2 - 12.5, Target >1 cycle
16 | U0 - 30, U1 - 19, U2 - 19
17 | U0 - 1, U1 - 0, U2 - 1
18 | 180 days
19 | 10% of open changes
20 | 23 completed DCPs for FLOC update
21 | No. of outage design changes, Design quality, Open unestrained DCM changes > 45 days, Unapproved FCTs > 30 days
23 | Temporary Configuration Changes (TCCs) > 6 mos 455
24 | Design Change Notices (DCNs) closed <120 days
25 | Configuration Information Changes (CICs)
26 | currently open CRs
27 | Temporary Configuration Changes (TCCs) > 6 mos 114
28 | >18 mos
29 | >6 mos
30 | These are for consquential/events only-not just any mis-position
31 | The items not closed have management exceptions.
32 | Cook breaks down CM Work orders into corrective critical (CC) and corrective non-critical (CN), following INPO guidelines. Actual critical - 1 (Avg. Age 48 days), non-critical - 109 (Avg. Age 423 days). Target critical less than or equal to 3, non-critical less than or equal to 120
33 | Unresolved Non-Conforming Conditions >1 Cycle in Age, Non-Outage Unscheduled Engineering Changes, Quality Review Team - Graded sample of approved Design Documents, Margin Management Effectiveness
34 | Composite score is calculated by weighted averages of Temp Mods, QRT, Engineering Change Rework Issues, Non-Outage Unscheduled ECs, and Margin Mangement Effectiveness

## Sheet2
|  |  | Harris1 | 1 | 941 | 1987 | Columbia | 1 | 1153 | 1984 | Prairie Island | 2 | 536/unit | 1973/1974
|  |  | Actual |  | Target2 |  | Actual |  | Target |  | Actual |  | Target |  | Actual | Target | Actual | Target | Actual | Target | Actual | Target | Actual | Target
1 | Temporary Modifications
| Average # installed/unit during period |  | 4 |  | ≤8 |  | 0 |  | 0 |  | 13
| Average Length installed (months) |  | N/A | [7 empty] | note 7
2 | Open Modifications
| # Design Complete - Install Not Started |  | N/A |  |  |  | 168 |  | 200 |  | 278
| # Installation Complete - Not Turned Over |  | 5 |  | ≤10 | [5 empty] | 8
3 | Modification Package Closure Times
| Total # Turned Over to Ops/Not Closed > 90 days |  | N/A |  |  |  | 41 |  | 50 |  | 5
4 | Facility Configuration Information (FCI) Backlog
| Total # Drawing Changes Initiated/Not Closed > 90 days |  | 59 |  | ≤125 |  | 18 |  | note 5
| Total # Database Changes Initiated/Not Closed > 90 days |  | N/A |  |  |  | 9
5 | Configuration Management CRs
Total # of CRs Written
# of CM-Related CRs
% of CM-Related to Total CRs
6 | Number of Operator Work Arounds |  | 0 |  | ≤1 |  | 0 |  | <1 |  | see note 9
7 | Number of SSC Mis-positions |  | 0 |  | ≤92% |  | 0
8 | Number of Corrective Maintenance Work Orders > 90 days |  | N/A |  |  |  | 16
9 | Other CM PIs: |  | see note 3
10 | Do you have a composite CM score? |  | YES |  |  |  | NO
| If Yes, how is it calculated: |  | see note 4
NOTES FOR SHEET 2
1 | (for illustration purposes) PGN is in process of overhauling KPIs, desire is to keep it focused on what Engineering controls - Mid Summer expected completion
2 | Same KPI applies to RNP, BNP and CR3 stations
3 | Open Operable Degraded Conditions (RIS 2005-20), Clearances > 90 Days, Off Normal Tags > 90 Days, Disabled Annunciators
4 | 10 points possible for any attribute, 10 Attributes total, 60-70 = Yellow, < 60 = Red, Score >/= 80 = Green, Calculated Monthly and 3 Month Rolling Average, Graded scale for quantities > than Target value (reducing)
5 | Total backlog goal for drawings and databases = 20
6 | 1 non-critical component >90 days
7 | 25 months (ranges from 2 months to 46 months - data is skewed for avg)
8 | 27 at APPROVED status of which 3 are minor mods and 3 are work order only mods
9 | OWA is not tracked separately. There are 61 Operator Burdens that include Owa, Operator challenges, controll room deficiencies, lit annucnicators, & temporary mods. Removing the know tempoary mods of 14, the number is 47 for the other areas