Component Design Basis Inspection Break-Out : Main points

- Use past CDBI Inspection reports issued by NRC to determine areas of likely interest when performing your plant specific preparation assessment which will be reviewed by your plant’s Challenge Boards

- The CDBI’s are performed on a triennial basis. They will select SSCs that have likely NOT been looked at in the past 2 Inspections. Therefore additional focus should be placed on those SSCs not yet evaluated by the 2 previous CDBIs.