## Drawings
Drawings
| How many drafters support your facility (either at the site or in the home office)? | How many designers support your facility (either at the site or in the home office)? | How many plant units do your drafting/designer personnel support? | Do you supplement your full time draftsperson (not designer) work force with outside contractors/temporary employees? | If so, how many drafters? | Approximately how many drawings are maintained for your facility? | Do you use a graded approach for your drawings? | If so, what are they and what are the drawing update frequencies? | Total Backlog | Total Overdue Backlog | Are NEW drawings, developed for change packages that have been physically installed in the field but have not been issued Active, included in your backlog numbers? | Do you have a drafting standard/procedure? | Do you hold your Engineer of Choice (EOC) to this standard/procedure? | Do you have an “owners acceptance” review of CAD files either created or revised from your EOC (admin review of drafting procedure compliance and incorporation of change paper)? | Are new drawings developed by EOCs turned over to you (native CAD files)? | Have you had any tagging events or equipment/unit trips due to an un-updated drawing (change paper available but was not used)? | If so, can you explain? | What CAD application does your facility use?
Paul Davis PSEG Nuclear Salem 856-339-1689 paul.davis@pseg.com | 0 | 2 | 2 | Yes | 3* These drafters were let go June 30, 2014. | 114190 | Yes | See Drawing Graded Approach Sheet | 1054 | 909 | Yes | Yes | Yes | Yes | Yes | Yes | An ST was being performed on some equipment per the drawing and tripped the equip. Corective Action initiated, change posted, next year ST again, didn't check for posted change, tripped equip again. | MicroStation Descartes - (Hybrids)
Paul Davis PSEG Nuclear Hope Creek 856-339-1689 paul.davis@pseg.com | 2 | 0 | 1 | No | 0 | 82149 | Yes | See Drawing Graded Approach Sheet | 1015 | 638 | Yes | Yes | Yes | Yes | Yes | Yes | A P3 drawing was used for tagging (wrong) and the planner did not check for outstanding changes | MicroStation Descartes - (Hybrids)
Dave Weber Energy Northwest Columbia Generating Station 509.377.4659 dgweber@energy-northwest.com | 2 | 9 | 1 | No | 0 | 109865 | Yes | See Drawing Graded Approach Sheet | 108 | 0 | Yes | Yes | Yes | Yes | Yes | No | N/A | AutoCAD 2012 Raster Design - (Hybrids)
Kersi Dalal Pacific Gas and Electric Diablo Canyon Power Plant 805-545-3449 kjd3@pge.com | 5 | 5 | 2 | Yes | 5 | 200000 | Yes | See Drawing Graded Approach Sheet | 350 | 350 | No | Yes | Yes | Yes | Yes | No | N/A | G5
Russ Schaefer Xcel Energy Prairie Island Nuclear Generating Plant 651-267-6074 Russell.Schaefer@xenuclear.com | 0 | 20 | 2 | Yes | 4 | 70000 | Yes | See Drawing Graded Approach Sheet | 1135 | Not capable of getting numbers | No | Yes | Yes | Yes | Yes | No | N/A | MicroStation
R Scott Spencer CHPRC Hanford 509-376-4980 robert_s_scott_spencer@rl.gov | 0 | 10 | - | Yes | Varies | thousands | Yes | See Drawing Graded Approach Sheet | - | - | Yes | Yes | Yes | Yes | Yes | No | N/A | AutoCAD 2014 Inventor
Bob Hunter PPL Susquehanna 610.774.7708 rchunter@pplweb.com | 21 | 0 | 2 | Yes | Varies | 88,000 Controlled 75,000 Uncontrolled | Yes | See Drawing Graded Approach Sheet | 375 | 365 | Yes | Yes | The intent is to hold them to it, but rarely enforced. Drawings usually reworked by our drafters to meet standards | No, but we should | They are supposed to be, however not always enforced | No | N/A | AutoCAD 2014 AutoCAD Raster Design
Raymond Macleod New York Power Authority White Plains Office - Headquarters 914-287-3569 Raymond.macleod@nypa.gov | WPO Headquarters: 0 drafters STL Hydro: 9 union drafters plus 1 supervisor NIA Hydro: 11 union drafters plus 1 supervisor BG Hydro: 3 union drafters Clark Energy Center: 3 drafters | WPO Headquarters: 11 designers plus 2 design supervisors | No nuclear, only large and small hydro, cogeneration units and transmission | Yes | 14 designers | WPO: 24K NIA: 54K STL: 62K BG: 16K CEC: 10K | No | - | - | - | - | - | - | - | - | - | - | -
Barb Lundquist Xcel Energy Monticello Nuclear Generating Plant 763-295-1314 barbara.lundquist@xenuclear.com | 0 | 2 | 1 | Yes | 3 | - | Yes | See Drawing Graded Approach Sheet | 609 | 536 | Yes | Yes | Yes | Yes | Yes | No | N/A | AutoCAD 2013 Moving to AutoCAD 2014

## Drawing Graded Approach
PSEG Nuclear
Class/Priority | Brief Description | Update Frequency
Priority 1 | Control room dwgs | Within 15 days of installed in field
Priority 2 | Drawings critical to Plant maintenance | Within 90 days of installed in field
Priority 3 | All other drawings required to maintain plant configuration | Within 180 days of installed in field after 5th posted change
Priority 4 | Engineering reference only drawings, commercial building drawings | Revise as needed
Columbia Generating Station
Class/Priority | Brief Description | Update Frequency
0 | Documents and data used to ensure safe and reliable plant operation that must accurately depict the plant configuration. Priority "0" documents and data should be updated to reflect configuration changes as part of the turnover process to place a modified system, structure, or component into service or operation. These documents and data typically include operating procedures, Top Tier Drawings (piping and instrument diagrams [CGS flow diagrams], electrical main line and one-line diagrams, load lists [CGS power panel schedules], elementary wiring diagrams, the fuse list and MEL). Selected non Top Tier documents (e.g. FSAR Figure drawings and set point lists) are also included. | Immediately as a part of turnover prior to the return to service of equipment
1 | Documents and data important to safe and effective plant operations and maintenance. Priority "1" documents and data may be used as construction documents to support the physical installation of configuration changes and reflect the new configuration before the change is implemented; or they may be updated within 30 days following implementation of a change. These documents and data usually include AE non-Top Tier EWDs, electrical and instrument internal/external connection diagrams, and may also include vendor manuals. | 30 days
2 | Documents and data important to safe and effective plant maintenance. Priority "2" documents and data may be used as construction documents to support the physical installation of configuration changes and reflect the new configuration before the change is implemented; or they may be updated within 90 days following implementation of a change. These documents and data usually include CVI electrical and instrument internal/external connection diagrams, internal wiring diagrams, cable and raceway schedule, lighting and raceway drawings, selected vendor drawings that contain maintenance information, Q-list and EQ-list (equipment qualification list of components) and QC1 piping isometrics/hanger drawings, documents related to Post Fire Safe Shutdown criteria, piping isometrics, welding procedures, security hardware, equipment list, heat balance diagram, yard piping, and specifications. | 90 days
None | Documents and data not included in Priority "0", "1" or "2" that reflect the arrangement and construction of the plant and are retained for historical or regulatory purposes and have no update priority. Configuration Control is provided by posting pending changes against these documents and data. They may be updated based on the amount of posted changes against them or on an as-requested basis (e.g. required for future design efforts). Priority "Blank" documents and data typically include QC2 piping isometrics/hanger drawings, structural drawings for reinforced concrete and fabrication drawings. | Upon request
Diablo Canyon Power Plant
Class/Priority | Brief Description | Update Frequency
I | Critical/Control Room DWGs | 30 days
IA | Critical Vendor DWGs | 30 days
II | Non-critical | 180 days
Prairie Island Nuclear Generating Plant
Class/Priority | Brief Description | Update Frequency
0 | Inc = Y, issue prior to EC (engineering change) closure | w/i 90 days of turnover
1 | Inc=Y, issue prior to EC (engineering change) closure | w/i 90 days of turnover
2 | Inc=Y, issue prior to EC (engineering change) closure | w/i 90 days of turnover, if practicable
Inc=N, approved markups are in EC, separate tracking actions to issue documents. EC can be closed.
3 | Inc=N, update level-of-effort | Level-of-effort
CHPRC
Class/Priority | Brief Description | Update Frequency
Essential | Used for Operations and Emergency Response, Lock and Tag, etc. | Within 30 days of work completion of a change.
Support | Used for Engineering information | Within 90 days of work completion of the 6th change.
Reference | Information only | As directed by the Design Authority
PPL
Class/Priority | Brief Description | Update Frequency
1 | A drawing essential to safe operations and shutdown | Within 10 days of posted change
2 | 2nd tier operating drawings | Within 20 days of posted change
3 | Essential to Maintenance and Engineering | Within 60 days after 3rd posted change
4 | 2nd tier essential to Maintenance and Engineering | Within 90 days after 6th posted change
5 | Not routinely used | Updated by request
N | Drawing not as-built. Not configuration controlled | Updated by request
V | Vendor Component drawing | Generally not updated
Monticello Island Nuclear Generating Plant
Class/Priority | Brief Description | Update Frequency
0 |  | Immediate
1 |  | 30 days
2 |  | 90 days
3 |  | As requested

## Calculations
Calculations
| Do you use a graded approach for your calculations? | If so, what are they and what are the drawing update frequencies? | Do you require vendors who develop new calculations to turn over the native files (not pdf)? | Do you have a performance indicator for calculations? | Total Backlog | Total Overdue Backlog | Do you require, at a minimum, some sort of administrative change package in order to update a calculation? | Do you require a 50.59 review for calculation revisions? | Do you allow vendor calculations (calculations created by a vendor, not in your format) to be added as a Vendor Document?
Paul Davis PSEG Nuclear Salem 856-339-1689 paul.davis@pseg.com | Yes | See Calculation Graded Approach Sheet | Yes | Yes | 212 | 201 | Yes | Yes | Yes
Paul Davis PSEG Nuclear Hope Creek 856-339-1689 paul.davis@pseg.com | Yes | See Calculation Graded Approach Sheet | Yes | Yes | 93 | 83 | Yes | Yes | Yes
Jim Hysjulien Energy Northwest Columbia Generating Station 509.377.4614 jhysjulien@energy-northwest.com | No | After 5 posted changes an Action Assignment is created with a due date to update the calc within a year | Some but quite a lot of Vendor information these days are proprietary. | No but will be creating one to trend the project performance and to better manage the backlog after the completion of the project. | 16 with 5 or more posted changes |  | We use an EC Type CMR (Calculation Modification Record) to post changes against calcs. If they are dependent or in support of a design change, we include a 'HOLD BY MOD' milestone to prevent status advancement and the CMRs are changed in status at the same time as the design change as a part of the mod turnover phase. | Currently, our procedure doesn’t require at 50.59 for revising a calc, but it does for CMRs. In the future, we would like to update our procedure to have us do 5059s for calc revisions. | Yes
Ariel Montoya Pacific Gas and Electric Diablo Canyon Power Plant 805-545-6508 ham8@pge.com | No | N/A | Yes | Yes | - | - | Yes | Yes | Yes
Russ Schaefer Xcel Energy Prairie Island Nuclear Generating Plant 651-267-6074 Russell.Schaefer@xenuclear.com | Yes | See Calculation Graded Approach Sheet | Yes | Yes | 252 | Not capable of getting numbers | Yes | Yes | Yes
Sara Nemecek Xcel Energy Monticello Nuclear Generating Plant 763-295-1316 Sara Nemecek@xenuclear.com | No | 30 days | Yes | No | 64 | 62 | Yes | Yes | No

## Calculation Graded Approach
PSEG Nuclear
Priority 1 | Non Drawing Design Documents that contain critical design basis information and are critical to safety related Structures, Systems or Components and supporting Operability Determinations. | Calcs within 90 days of the 5th posted change installed in field. Non Calcs within 90 days of installed in field
Priority 2 | Non Drawing Design documents that contain design information deemed important but not critical in supporting Structures, Systems or Components and Operability Determinations. | Calcs within 180 days of the 5th posted change installed in field. Non Calcs within 180 days of installed in field
Priority 3 | Non Drawing Design documents that contain design output that are not critical for Structures, Systems or Components nor for supporting Operability Determinations. | Calcs within 180 days of the 5th posted change installed in field. Non Calcs within 180 days of installed in field
Priority 4 | Non Drawing Design documents that contain stand alone design outputs used for design change package development or have no direct impact on Structures, Systems or Components. | Revise as needed
Priority 5 | All other Non-drawing Engineering Design Documents/Databases. | Revised based on doc type procedural requirements
Prairie Island Nuclear Generating Plant
Class/Priority | Brief Description | Update Frequency
0 | Inc = Y, issue prior to EC (engineering change) closure | w/i 90 days of turnover
1 | Inc=Y, issue prior to EC (engineering change) closure | w/i 90 days of turnover
2 | Inc=Y, issue prior to EC (engineering change) closure | w/i 90 days of turnover, if practicable
Inc=N, approved markups are in EC, separate tracking actions to issue documents. EC can be closed.
3 | Inc=N, update level-of-effort | Level-of-effort

## Other
| Other Engineering Documents |  | Vendor Documents |  |  | FSAR |  |  | Procedures |  |  | Document/Configuration Management
| Do you have a classification/category for digital equipment documentation (including software)? | Do you have a procedure for maintaining this digital documentation? | Do you have a performance indicator for re-contact vendor document updates (GL 90-03)? | Do you require, at a minimum, some sort of administrative change package in order to update a vendor document? | If not, then do you allow Maintenance Work Instructions to reference vendor documents, or to use the information in the vendor documents to develop Work Instructions? | Do you maintain figures in your FSAR? | If so, who maintains the figures (drafting, Reg Assurance)? | Do you have plans to remove the figures and only reference design drawings? | Are procedures included as affected documents (change paper created and statused) within your design change package? | Are your procedures categorized in your change package similar to “needed for turnover to Operations” and “not needed for turnover to Operations”? | If so, how are the “not needed for turnover” procedures tracked to closure? | What software do you use to maintain your Document Management? | Are your Records maintained in that same software? | If not, what software? | Is your configuration maintained in your Document Management software? | If not, what software?
Paul Davis PSEG Nuclear Salem 856-339-1689 paul.davis@pseg.com | Yes | Yes | No | No | Yes | Yes | Drafting | Yes | No | Yes | Typically a level 5 (out of 5) corective action SAP Order | Cimiage (DCRMS) Upgrading to Fusion | Yes | N/A | Yes
Paul Davis PSEG Nuclear Hope Creek 856-339-1689 paul.davis@pseg.com | Yes | Yes | No | No | Yes | No | Reg Assurance | No | No | Yes | Typically a level 5 (out of 5) corective action SAP Order | Cimiage (DCRMS) Upgrading to Fusion | Yes | N/A | Yes
Dave Weber Energy Northwest Columbia Generating Station 509.377.4659 dgweber@energy-northwest.com | Yes | Yes | [9 empty] | Ventyx - Asset Suite (formally Passport) | Yes | N/A | Yes | Images are stored in SharePoint
Sean Carlson Energy Northwest Columbia Generating Station 509.377.4016 swcarlson@energy-northwest.com |  |  | No | We use the EC Type ADOC (Administrative Document Only Change) process to revise vendor drawings and an O&M Manual Traveler to process O&M Manual changes so are held if tied to a design change and processed during mod turnover. | They can use approved vendor drawings and O&M Manuals to plan maintenance work order instructions.
Darla Johnson Energy Northwest Columbia Generating Station 509.377.4570 drjohnson@energy-northwest.com | [5 empty] | Yes | Drafting for Drawings and our Graphics Public Affairs Department for Graphics | No
Linda Mar Energy Northwest Columbia Generating Station 509.377.4733 lmmar@energy-northwest.com | [8 empty] | Yes but the mark-up is not included in the package. We coordinate the changes with the Procedure group. | Yes. We have an "Operations Services Document" indicator on the EC Affected Document List. If checked, the procedure is required to be revised prior to the return to service of equipment. | Action Assignment to the department procedure owner (e.g. Chemistry, Maintenance, etc;) with an agreed to due date.
Kersi Dalal Pacific Gas and Electric Diablo Canyon Power Plant 805-545-3449 kjd3@pge.com | No | Yes | Yes | No | Yes | [6 empty] | Filenet | No | - | No | -
Joe Loya Pacific Gas and Electric Diablo Canyon Power Plant 805-545-4486 k813@pge.com | [5 empty] | A few | Regulatory Services | Yes
Cynthia Cotton Pacific Gas and Electric Diablo Canyon Power Plant 805-545-4273 clcp@pge.com | [8 empty] | No | No | Design Change Closure Order in SAP – operations track return to service items
Russ Schaefer Xcel Energy Prairie Island Nuclear Generating Plant 651-267-6074 Russell.Schaefer@xenuclear.com | Yes | Yes | No | Yes | N/A | Yes | Drafting | No | Yes | Yes | Procedure change requests (PCRs) or Work Order tasks | PassPort | Yes | - | Yes | -
Bob Hunter PPL Susquehanna 610.774.7708 rchunter@pplweb.com |  |  | No | No | - |  |  |  | No | Yes | Given their own Action Item linked to the EC | NIMS | Yes | - | Yes | -
Bonnie Lobach PPL Susquehanna 570-542-3171 bclobach@pplweb.com | - | -
Rich Fedor PPL Susquehanna 610-774-7352 rafedor@pplweb.com | [5 empty] | Yes | Drafting | No
Sara Nemecek Xcel Energy Monticello Nuclear Generating Plant 763-295-1316 Sara Nemecek@xenuclear.com | Yes | Yes | [6 empty] | Yes | Yes | PCR - EC ADL | PassPort | Yes | - | Yes | -
Barb Lundquist Xcel Energy Monticello Nuclear Generating Plant 763-295-1314 barbara.lundquist@xenuclear.com |  |  | No | Yes | Yes | Yes | Drafting | No