## Slide 1: NRC Perspective of Recent Configuration Management Issues
Tom Farnholtz
Chief, Engineering Branch 1
Division of Reactor Safety, Region IV
June 2014
CMBG Conference

## Slide 2: Topics
What We Do and Why We Do It
Design Control
Design Basis
Licensing Basis
Latent and Current Performance Issues Being Identified
Vendor Oversight
The Changing Demographics

## Slide 3: What We Do and Why We Do It
Implement the ROP - Inspect and Assess
Focus on Engineering Organizations
Engineering is the Keeper of the Design Basis
The Integrity of the Design Basis is the Underlying Assumption for all Licensing Actions
Maintenance of our Credibility

## Slide 4: Design Control
10 CFR Part 50, Appendix B, Criterion III, Design Control
Applicable regulatory requirements correctly translated into specifications, drawings, procedures, and instructions
Appropriate quality standards are incorporated and deviations from such standards are controlled
Measures shall be established for the identification and control of design interfaces and for coordination among participating design organizations

## Slide 5: Design Basis
Design basis is the information that identifies the specific functions that a facility’s SSC is to perform and the specific values or range of values chosen for controlling parameters as reference bounds for design. These values may be:
Restraints derived from generally accepted “state-of-the-art” practices for achieving functional goals or
Requirements derived from analysis of the effects of a postulated accident for which the SSC must meet its functional goals

## Slide 6: Licensing Basis
  The Current Licensing Basis (CLB) is the set of NRC requirements applicable to a specific plant and a licensee’s written commitments for ensuring compliance with and operation within applicable NRC requirements and the plant-specific design basis (including all modifications and additions to such commitments over the life of the license) that are docketed and in effect.
  Changes to the Licensing Basis
  - 10 CFR 50.59, “Changes, Tests, and Experiments”
  - License Amendment Requests

## Slide 7: Latent and Current Performance Issues Being Identified
Lack of an Analysis to Show Adequate Voltage to Auxiliary Feedwater Steam Generator Isolation MOV
Inappropriate Ultimate Heat Sink Spray Pond Mission Time Utilized in Operability Determinations
Failure to Adequately Verify that NSSS Instrumentation Loads Would be Capable of Operating at Minimum Inverter Output Voltage
Failure to Maintain Design Control of the Safety Injection Pump Room Cooler

## Slide 8: Latent and Current Performance Issues Being Identified - Continued
Failure to Properly Evaluate the Effects of Combustion Air Temperature on the Diesel Generator Capability
Failure to Evaluate the Impact on the Auxiliary Feedwater Pump Motor That Resulted From Predicted Maximum Flow and Maximum Frequency Conditions
Inadequate Configuration Control Resulting in Inadvertent Isolation of Fire Water to the Vast Majority of the Plant

## Slide 9: Latent and Current Performance Issues Being Identified - Continued
Unplanned Power Excursion During Plant Startup and Power Ascension
Work in Progress Resulting in Rendering Plant Equipment Inoperable
Equipment Material Condition and Personnel Safety Concerns

## Slide 10: Vendor Oversight
Significant Challenges in the Area of Vendor Oversight
Can and Have Had Negative Effects on Configuration Management and Design Control
Essential Service Water System Modification to Address a Longstanding Water Hammer Issue
Inadequate Technical Knowledge Resulting in Vendor Errors and Equipment Damage

## Slide 11: The Changing Demographics
An Amateur Built the Ark,
Experts Built the Titanic
Payton Manning
Address to the University of Virginia
Graduating Class of 2014
May 17, 2014

## Slide 12: Key Messages
Configuration Management Encompasses Many Aspects – Design Control is a Major Focus for the NRC
We Continue to See Examples of Inadequate Design Control – Both Current and Latent
Vendor Oversight is Critical
Changing Demographics is a Challenge

## Slide 13
Questions?
Comments?
Tom Farnholtz, Chief
Engineering Branch 1
Division of Reactor Safety
Region IV
(817) 200-1243 (office)
(817) 301-9846 (mobile)
Thomas.Farnholtz@nrc.gov
NRC.gov