## Slide 1: ANSI/NIRMA Standard CM 1.0 Status Update
CMBG Conference 2015
Glendale AZ
June 8, 2015

## Slide 2: Evolution of ANSI/NIRMA Standard
Industry Historical Events:
  SSFIs
  Millstone Event
  Response to Industry-Recognized Issues
History of ANSI/NIRMA Standard
  Position Papers
  NIRMA TG-19
  ANSI Standard
Current Status
Next Steps

## Slide 3: Industry Historical Events
Safety System Functional Inspections (SSFIs):
  In mid-1980s, NRC initiated SSFIs at operating nuclear power plants
  Basic objective of SSFIs was to ensure Licensee could produce documentation that:
    Represented the ‘as-built’ facility
    Verified the facility was within the authorized design basis
    Support the ability to maintain the plant
    Demonstrated proper controls are applied for facility changes
Millstone Shutdown
  NRC’s 10CFR50.54(f) letter issued with major focus on CM
  Triggered industry initiatives on CM

## Slide 4: Industry Reactions
NRC required Licensees provide evidence that plants were within their design and licensing bases
Utilities committed to reconstituting their design basis for operating units, i.e., Design Basis Reconstitution
New plants under construction also committed to developing design basis documentation

## Slide 5: Industry Reactions
NUMARC Task Force published guidance for Design Basis Reconstitution (NUMARC 90-02)
NRC issued NUREG/CR 5147 on CM Program attributes
Design Basis Reconstitution initiatives were launched with expenditures in the $100s of Millions of Dollars…!

## Slide 6: NIRMA’s Assessment & Direction
NIRMA noted that non-adherence to design change control requirements identified in ANSI N42.11 (QA for Design Control) was a major cause of design basis issues BUT that was not CM…
Proposed that key underlying issues were ineffective processes, information management and integration of information flows in processes across the entire plant organization
Suggested overall issue was absence of Configuration Management Programs which complimented design and document control
NIRMA Configuration Management Committee (CMC) was formed in 1987 to focus on the issues and develop guidance materials for establishing effective CM Programs

## Slide 7: CM Guidance History
PP-02
TG-19
ANSI/NIRMA Std.
1987
1989
1994
1996
2000
2007
2012
2015
Rev. 0
1989
Rev. 1
1994
Rev. 0
1996
CM 1.0 2000
CM 1.0
2007
Configuration Management Benchmarking Group
CMBG
1993
Configuration Management Committee
NIRMA

## Slide 8: ANSI/NIRMA CM Standard - Status
ANSI requires maintenance of Standards on a 5-year cycle
2007 revision was assessed regarding needed updates:
  CMBG agreed no updates were required at this time
  Any issues going forward would be addressed in later revision
  EPRI & NIRMA agreed new build guidance in ERPI Technical Report was adequate for now
NIRMA decision was to reaffirm 2007 revision:
  Initially planned for 2013
  Administrative issues pushed out the Reaffirmation process until 2015
ANSI Reaffirmation process status:
  Completed in May 2015 with 100% approval for Reaffirmation
  Documentation being submitted to ANSI for formal approval
  ANSI/NIRMA CM 1.0 – 2007 expected to be reissued as Reaffirmed Standard in fall 2015

## Slide 9: ANSI/NIRMA CM Standard - Going Forward
Industry inputs for updates to the 2007 version will be collected over next couple of years for the next revision
Inputs have been collected from some of the Consensus Body members that voted on the Reaffirmation
A major effort will begin during this CMBG conference:
  Breakout Session Monday afternoon will be an open forum for identifying issues to be considered for the next revision
  A CMBG Task Group will be formed to pursue the task of developing recommendations for the next revision of CM 1.0
  The CMBG Task Group will have an initial formation and logistics session on Wednesday morning

## Slide 10: ANSI/NIRMA CM Standard – Key Topics
Several key topics to be addressed for the next revision, e.g.:
  Enterprise risk based on INPO IER LI-14-20
  Address nuclear plants that do not necessarily produce power
  CM requirements/data diagram for requirements, SSCs and FCI
  5 models: equilibrium, CM process, margin model, functional area model, and requirement/data model
  5 Functional Areas from IAEA Safety Report No. 65: Protect Design Basis, Modify Plant, Operate Plant, Maintain Plant, Test Plant
  Expansion of margin management discussion
  Address new plant pre-operational CM topics, e.g.:
    Design Authority -- controlled / shared on new nuclear builds
    Margin Information for new nuclear builds
    CM Information

## Slide 11: Thank You…! Rich Giska rich_giska@hotmail.com

## Slide 12
Support Materials

## Slide 13: NIRMA Position Paper on CM
CMC focused on a Position Paper on CM for nuclear plants:
  Engaged experienced multi-disciplined team including:
    Engineering, Design, Quality Assurance, Procurement
    Operations, IT, Document Control & Records Management
  Took holistic approach to CM, i.e., beyond design and design basis
  Focused on information management and business processes governing changes of all types & managing related information flows
  Applied CM Standards and associated principles used in Dept. of Defense to nuclear plants, i.e. – baseline, change control, status accounting and verification/validation (or audit)
  Translated these principles to core elements of a CM Program
NIRMA Position Paper PP-02, Rev. 0 was issued in 1989

## Slide 14: Continued CM-Related Efforts
Identified need for business process improvements:
  Interfaces of multiple processes not well-defined
  Isolated processes were used to achieve specific tasks
  Focused on multiple ways changes could be implemented and ability to perform true impact analyses for each type of change
Developed Position Paper PP-03 on CM Enhancement Programs
Recognized information management not an industry strength and had limited importance by management in many operating plants:
  Multiple islands of data existed in individual silos – “My Data”
  After plant changes, not all duplicated instances of data were updated
Developed Position Paper PP-04 on Configuration Management Information Systems

## Slide 15: Coordination with DOE on CM
DOE developed CM Program guidance and directives in DOE Order 1073 issued in 1993:
  Adopted many of the core elements and principles in NIRMA PP-02
  Expanded to provide detailed guidance for DOE facilities
NIRMA CMC and DOE collaborated to incorporate applicable guidance from DOE Order 1073 into PP-02
NIRMA PP-02, Rev. 1 was issued in 1994
NIRMA and DOE also collaborated on development of NIRMA TG-19 which was the foundation document for the ANSI/NIRMA Standard CM 1.0

## Slide 16: Events Driving CM Program Progress
1994 – CM Practitioners hosted by PP&L:
  Discussed current CM issues and practices
  NIRMA, as an approved ANSI Standards Developer, suggested an industry standard on CM should be considered
1995 – CMBG established
1996 – Millstone Shutdown:
  NRC’s 10CFR50.54(f) letter issued with major focus on CM
  Triggered industry initiatives on CM
1996 – NIRMA engaged with CMBG to pursue industry standard:
  Developed NIRMA Technical Guideline TG-19 1996
  Birth of the 3-Ball Model…!

## Slide 17: ANSI/NIRMA Standard History
1988- NIRMA certified as an ANSI Approved Standard Developer
1998 - NIRMA TG-19 was used as the base document for development of the desired ANSI industry standard
2000 – ANSI/NIRMA Standard CM 1.0 issued
2005 – INPO AP-929 - Configuration Management Process Description:
  CMBG requested revisions
  Wanted consistency with ANSI/NIRMA Standard CM 1.0
  INPO issued Rev. 1
2007 – ANSI/NIRMA Standard CM 1.0 revised to incorporate CM Process Model and Equilibrium Restoration

## Slide 18: CM for New Nuclear Plant Projects
New nuclear plant projects have unique CM issues that don’t exist for operating units today, e.g.:
  10CFR52 licensing process & issuance of combined operating license (COL)
  CM expected to be implemented during the construction phase of a project
Focus of ANSI/NIRMA Standard is on operating plants

## Slide 19: CM for New Nuclear Plant Projects
EPRI addressed CM for New Nuclear Plant Projects:
  EPRI Technical Report 1022684, April 2011 – “Elements of Pre-Operational and Operational Configuration Management for a New Nuclear Facility”
  Guidance addresses all aspects of CM:
    Emphasizes need to address CM early and establish roles and responsibilities
    Focus on Licensee’s CM obligations, expectations of EPC and information flows during multiple phases of a project

## Slide 20: CMBG Inputs and Support
Steering Committee has agreed topics for consideration of new content of ANSI/NIRMA Standard will be requested of CMBG members and addressed by Task Teams:
  Breakout sessions at CMBG Conferences to be leveraged for inputs
  Issues will be defined & research conducted by Teams
  Recommendations provided to NIRMA for next update
CMBG was a voting member for all ANSI/NIRMA balloting :
  ANSI requires voting from diversified “interest categories”
  Process is required to achieve the industry consensus for standards
  CMBG represents “Industry Interest Group” category
Inputs from CMBG members to start in Breakout session today!