## Slide 1: Certifying Data in Controlled Databases for Direct Use
Eric Pace
CM Group Supervisor

## Slide 5: Problem Statement
How do you consolidate and certify data for direct use?
Not fully addressed by existing NIRMA guidelines or NRC RIS 2000-018
Lack of specific guidance in NQA-1 or QA Program Documents
Benchmarking shows varying degrees of data centralization and control across the industry
Many feel that their Master Equipment List data can be used for direct use without revalidating against the data source document
Methods of documentation, record storage, and change control of data varies across the industry.
Notes: Problem Statement
  -NQA-1 and typical QA Program Documents do not provide specific guidance on certifying and maintaining controlled databases containing design data for ongoing direct use without validation to the source document.
  -NRC RIS 2000-018, Guidance on Managing Quality Assurance Records in Electronic Media, endorses NIRMA guidelines on electronic records. The NIRMA guidelines do not fully address requirements for ongoing direct us of data from controlled databases.
  -Benchmarking reveals that despite some consolidation of controlled data in the Master Equipment List at the operating plants there are still multiple siloed databases that store data that should be under formal change control.
  -Six of seven utilities surveyed feel the data in their MEL is controlled adequately and can be used for direct use.
  -The survey revealed that Utilities don’t have a consistent method for certifying the MEL and control of data in the MEL.

## Slide 6: Consequences
Regulatory Scrutiny
Squandered resources for validation of data prior to use from multiple sources of data
Configuration challenges managing multiple databases with multiple points of data entry
Wasted resources on publication of uncontrolled data to documents to validate data for use

## Slide 7: V.C. Summer New Build Approach to Certifying MEL and Other Data
Data Turnover and Developing a Baseline
  Control Turned Over Data
  Consolidate All Data Sources into a Single Station MEL
  Create Baseline Record of MEL
  Track Unvalidated Data
  Process for Validation of Data on “First Use”
MEL Change Control Process
  Design Controlled Data
  Program Controlled Data
  Administrative Data
Relationship Management
Official Record Maintenance

## Slide 8: V.C. Summer New Build Approach to Certifying MEL and Other Data
System Relationships
  Validation Relationships
  Program Relationships
  Document Relationships
  Procurement & Asset Relationships
MEL Record Maintenance
  Record Updated by Completed Engineering Changes
  Periodic Re-Baseline

## Slide 9
9
Model
(standard equipment)
Pump Catalog
Centrifugal
Model # CP-C-4020
Specifications:
RPM: 1500
Material: Cast Steel 316
Model or Std Equipment
“what we can purchase
to fulfill the process need”
Tag
(functional location)
P-101
Logical or Functional Location
“what are the characteristics to fulfill the process need”
1
N
Asset
(inventoried item)
Actual or Physical
“what we have installed
to fulfill the process need”
1
N
1
1

## Slide 10: V.C. Summer New Build Approach to Certifying MEL and Other Data
Elimination of:
  Multiple Databases with Duplicate Information
  Overlap of Design Basis and Other Data
  Controlled List Documents
  Data Tables in Design Basis and Other Similar Documents
  Data Tables in Program Procedures

## Slide 11: Elements to Consider
Data Change Process/Strategy
  Data Translation from EPC to SCANA
  Data Record Baseline
  Data Change Control Process
  Data Change Software Controls
  Ongoing Updates to Baseline Record
Graded Approach
  Design Basis Data - Controlled
  Program or Test Data - Transactional
  Administrative Data - Administrative

## Slide 12: Elements to Consider
Change Control Software Development
  Workflows to manage changes and capture approvals
  Workflows that store change data and displays in reports
  Workflows that provide an updated change record to satisfy QA record requirements
  Software interfaces both TO and FROM external software platforms
  Securities to prevent uncontrolled changes to controlled data
  Relationships to tie information together in a coherent and meaningful way
  Relationship to connect the data to the controlled data source

## Slide 13: Certifying the MEL Workshop
CMBG Survey on MEL Certification
  7 Respondents
  Responses Varied
Workshop Will Review and Critique Responses
  Methods of Changing the MEL and Other Data Sources
  Methods of Baselining the MEL as a QA Record
  Method of Software Certification
  Audits, Self Assessments, Benchmarks of the MEL and Other Lessons Learned
  Potential of a NIRMA Guideline for a Consistent Industry Response