## Slide 1: ENG-008: Standard Digital Engineering Process
Process Overview and Status Update for the CMBG
June 25th, 2018
Ashley Taylor- TVA

## Slide 2: Review: Where We Are Today
There are three broad issues with the application of digital technology preventing many digital mods from consideration:
  The regulatory framework for CCF – RIS 2002-22, Supplement 1, including for many SR systems
  Inconsistent modification processes between peer utilities reduces our ability to share design content and use economies of scale – NISP-EN-04 and EPRI Digital Engineering Guide
  Organizational structures and processes are not optimized or scalable for the technologies we are deploying – ENG-008 further work
The convergence of these industry initiatives affords us an unprecedented opportunity to move the industry forward. In so doing, we can significantly reduce costs using digital technology to reduce SPVs and improve plant performance and availability.

## Slide 3: ENG-008 Efficiency Opportunity
Desired end-state—
  The standard digital engineering process, including both the NISP-EN-04 and EPRI Digital Engineering Guide, is used across the industry to the benefit of each stakeholder.
  Solutions to common digital design issues are developed and shared.
  Key stakeholders, including independent engineering service providers (ESP), are engaged and supportive of digital modifications, resulting in lower design and implementation costs.
  Common training material is available to all stations and ESPs.
  Common set of minimum requirements for software and digital equipment are developed and used.

## Slide 4: ENG-008 Efficiency Opportunity
Value proposition (vision of excellence)—
  Improve quality of digital modifications through a scalable and robust technical framework.
  Improve regulatory stability by increasing the understanding of the processes used to develop digital modifications.
  Reduce costs by enabling:
    sharing of digital modification content,
    standardized training and qualification structures,
    ESPs to become proficient to a single process,
    equipment manufacturers and system integrators to develop standardized product offerings, and
    standardized Cyber Security assessments.

## Slide 5: Integrated Digital Engineering
Data Communications
Plant Integration
Cyber Security
Testing
Configuration Management
Life Cycle Management
Human Factors Engineering (HFE)
Procurement
Requirements Engineering
Analysis – Hazard/SPV/CCF
Architecture
Digital Engineering Guide (DEG)
Systems Engineering Based
Risk Based
Graded
Approach
Long Range Plan
Project Management
Programs
O&M
Engineering
Design &
Change Process
(SDP)
Optimized Digital
Engineering Organization

## Slide 6: Overall Architecture
Procedure
Guidance

## Slide 7: EPRI Digital Engineering Guide (DEG)
Chapter 1 thru 3 Framework
  Graded Approach
    Configurability determination
    Consequence determination
    Activity Applicability determination
    Structured Information guidance
Chapter 4 – Systems Engineering
  Modeled after EPRI 3002008018 and ISO/IEC/IEEE 15288:2015
  Synthesizes various ISO/IEC/IEEE standards
  Chapter 4 is the foundation for all remaining chapters
Chapters 5 thru 12 – Topical Guidance
  Procurement
  Human Factors Engineering
  Data Communication
  Cyber Security
  Plant Integration Design
  Testing
  Configuration Management
  Digital Obsolescence Management

## Slide 8: NISP-EN-04
Follows IP-ENG-001 flowchart format
Intended to be used with IP-ENG-001
Describes supplemental details for digital design to existing steps from the IP-ENG-001, adds steps when needed
Attachments 7-10 determine the activities to be performed based on configurability and consequences and how to document them, if at all, providing the “what to do”
These activities align with the EPRI DEG, which provides a “how to do”
Separate, optional checklist created as a placekeeping tool for the results of this review, similar to the DAR but for concepts and activities

## Slide 9: NISP-EN-04 Graded Approach
Step 1: Configurability Screen
  Low (A Few Settings)
  Medium (Wide Range of Settable Parameters)
  High (Custom Application Software)

## Slide 10: NISP-EN-04 Graded Approach
Step 1: Configurability Screen
  Low (A Few Settings)
  Medium (Wide Range of Settable Parameters)
  High (Custom Application Software)
Step 2: DEG Activity Applicability
  Activity Not Applicable – Technology/Function does not exist
  Activity Conditional – See each DEG Section Guidance
  Activity Required
For each activity in the DEG, this form provides suggested applicability by configurability category.
However, RE/RS have the final decision.
Low
Med
High
3.1.1
I&C Strategic Plan
N
C
R
Common Design Package
3.1.2
Equipment & Vendor Selection Criteria
C
C
R
Yokogawa DX 2000 /xx/yy/zz/aa/bb
3.1.3
HFE Program Plan
per HFE checklist and/or DEG Chapter 7
3.1.4
Cyber Security Plan
Applicable
3.2
3.3.1
Vee Model Activities
Yes - see EPRI example
3.3.2
Process Model Activities
Yes - see EPRI example
3.4.1
Development Activities in the Generic SDLC
No
3.4.2
Verification & Validation Activities in the Generic SDLC
No
3.5.1
Technology Configurability
See configurability screen
3.5.2
DEG Activity Selection
This screen
3.5.3
Risk Reduction
See DEG section guidance
3.6.1
Develop Vendor Oversight Plan
N
C
R
if 3rd party qual/CGD
3.7.1
EPRI Computer Based Training
C
C
R
Yes
3.7.2
EPRI Classroom Training
C
C
R
Yes
3.7.3
Vendor Training
N
C
R
Read the manual
4.1.1
Perform Problem/Needs Analysis
Obsolescence driven
4.1.2
Develop I&C Insights from Existing Analyses
C
C
R
HRA or SFA
4.1.3
Perform Operating Experience Review
Yes
4.1.4
Develop Hazard Analysis Plan
N
C
R
No
4.2.1
Develop or Confirm Preliminary Hazard Analysis
C
C
R
No formal FMEA, but document failure mpdes in the package
4.2.2
Assess CCF Susceptibility
if in multiple division - and include CCF P/Ls to the extent possible in common design
4.2.3
Perform CCF Coping Analysis (if needed)
if susceptible
4.3.1
Develop or Confirm Detailed Hazard Analysis
see 4.2.1
4.3.2
Identify & Resolve Single Point Vulnerabilities (SPV)
TBD
4.3.3
Resolve Remaining Hazards
see 4.2.1
4.3.4
Verify Hazard Analysis Results
verify results of 4.2.1
4.4.1
Update PRA
application-specific
4.4.2
Validate Hazard Analysis Results
see 4.2.1
4.5.1
Validate Hazard Analysis Results
bench test
4.6
4.7
Replace L&N Paper Recorder with Yokogawa DX2000
Common Design Package - Indication Only, No Data Communications
Project
Digital Engineering Guide Activities
Configurability
RE/RS Decision
4
3
I&C Programs, Plans and Lifecycles
3.1
I&C Program Management
C
C
Standard Design Process
R
4.4
Planning Phase
C
R
4.5
Installation/Testing Phase
R
R
3.4
System Development Lifecycle (SDLC)
C
C
3.5
Graded Approach
R
R
R
3.3
Systems Engineering Process
R
3.6
Vendor Oversight
3.7
Technical Transfer
Analyses
4.1
Initial Scoping Phase
R
R
4.2
Conceptual/Common Design Phase
R
R
4.3
Detailed Design Phase
R
C
R
Closeout Phase
Operations and Maintenance Phase

## Slide 11: NISP-EN-04 Graded Approach
Step 1: Configurability Screen
  Low (A Few Settings)
  Medium (Wide Range of Settable Parameters)
  High (Custom Application Software)
Step 2: DEG Activity Applicability
  Activity Not Applicable – Technology/Function does not exist
  Activity Conditional – See each DEG Section Guidance
  Activity Required
Step 3: Consequence Screen
  Low: Does not meet High Consequence Criteria
  High: Meets Risk and Impact thresholds for High Consequences

## Slide 12: Relative Depths of SDP and DEG Guidance
DEG
SDP
The SDP is relatively silent on several EC lifecycle phases, leaving them to site-specific procedures. The DEG provides guidance throughout the whole EC lifecycle. NISP-EN-04 will provide the “glue” between the SDP and the DEG.

## Slide 13: Digital Design Process Overview
Applicability of Topic
Medium
Risk
High
Risk
Transitional
Risk
Medium
Risk
Low
Risk
Transitional
Risk
Technology
Configurability
(Likelihood)
Potential Consequence of Error
High
High
Medium
Low
The Process is Activity Based
If Applicable, then…
  Consider Risk
  Drives level of Rigor and Documentation
  Rigor is defined as assurance methods that reduce the likelihood of error
  Many activities can be completed without an artifact
Low

## Slide 14: Progress to Date
Developmental & integration workshops are complete
Site tabletop pilots are complete, Engineering vendors included
Comment period open on Draft B of procedures
Remaining Items:
  DOWG issue approve NISP-EN-04 – 7/18/18
  EPRI Publish DEG (3002011816) – 10/1/18
  Develop Phase 1 CBT and EPRI one-day courses – 9/15/18
  Issue procedure Efficiency Opportunity, standard qualification, NISP-EN-04 – 8/3/18
  Issue organizational Efficiency Opportunity – 8/3/18
  Regional Workshops – August & September
  Industry Implementation – 6/1/19

## Slide 15
QUESTIONS?

## Slide 16: Example #1
Digital Relay Replacement
  Configurability: LOW
  Consequences: LOW
  Required Activities beyond basic design process:
    Address Cyber Security Requirements – DEG Section 8, document in IP-ENG-001 form sections
    Identify any Interface Requirements (EMI, EQ, Cable, etc.) – DEG Section 9, document in IP-ENG-001 form sections
    Review Obsolescence Plans – no documentation required, update existing plans as needed

## Slide 17: Example #2
Recorder Replacement
  Configurability: MEDIUM – procured with unneeded features removed
  Consequences: LOW
  Required Activities beyond basic design process:
    Human Factors Considerations – DEG Section 6, document in IP-ENG-001 form sections
    Address Cyber Security Requirements – DEG Section 8, document in IP-ENG-001 form sections
    Identify any Interface Requirements (EMI, EQ, Cable, etc.) – DEG Section 9, document in IP-ENG-001 form sections
    Review Obsolescence Plans – no documentation required, update existing plans as needed

## Slide 18: Example #3
Adding a Feedwater Distributed Control System (DCS)
  Configurability: HIGH
  Consequences: HIGH
  Required activities beyond basic design process:
    Plan for discovery – DEG Section 4, Project Plan
    Requirements, Function, Hazard, CCF Analysis – DEG Section 4, System Requirements Spec, FMEA, Hardware Req Spec, Software Req Spec, V&V Report
    Procurement and Vendor Oversight Strategy – DEG Section 5, Procurement Spec, Critical Digital Review, Vendor Oversight Plans
    Human Factors – DEG Section 6, Stakeholder Requirements Spec, Project Plan
    Data Communications – DEG Section 7, part of #2 items above
    Cyber Security – DEG Section 8, document in IP-ENG-001 form sections
    Plant Integration Design – DEG Section 9, part of #2 items above
    Digital Testing – DEG Section 10, Test Plan, part of #2 items above
    Digital Configuration Management – DEG Section 11, Project Plan
    Digital Obsolescence Planning – DEG Section 12, Obsolescence Risk and Mgmt Assessment, Update existing plans

## Slide 19: Example #4
Safety Related Chiller Replacement
  Configurability: MEDIUM
  Consequences: LOW
  Required activities beyond basic design process:
    Requirements, Function, Hazard, CCF Analysis – DEG Section 4, System Requirements Spec, FMEA, V&V Report (CONDITIONAL)
    Procurement and Vendor Oversight Strategy – DEG Section 5, Procurement Spec, Critical Digital Review, Vendor Oversight Plans (CONDITIONAL)
    Data Communications – DEG Section 7, part of #1 items above (CONDITIONAL)
    Cyber Security – DEG Section 8, document in IP-ENG-001 form sections
    Plant Integration Design – DEG Section 9, part of #1 items above (CONDITIONAL)
    Digital Testing – DEG Section 10, Test Plan, part of #1 items above (CONDITIONAL)
    Digital Configuration Management – DEG Section 11, Project Plan (CONDITIONAL)
    Digital Obsolescence Planning – DEG Section 12, Obsolescence Risk and Mgmt Assessment, Update existing plans (CONDITIONAL)