## Slide 1: Document Update Benchmark results
CMBG working group results from the document update benchmark questionnaire

## Slide 2: Purpose of the CMBG working group
Original intent of the working group was to develop standard document update requirements.
Original intent was to be used in conjunction with the Industry Configuration Management Performance Indicators.
Release of Efficiency Bulletin 17-24, “Industry Standardized Performance Indicators” has changed the intent.

## Slide 3: Benchmark Results
A questionnaire was developed and sent out to the industry that included:
  Drawings
  Calculations
  Other documents (i.e. Procedures, Vendor Documents, EQ doc, Specs, etc.)
The questionnaire also included questions on who typically performs the updates (In house or External engineering firm).

## Slide 4: Benchmark Results
Utilities that responded:
  Exelon
  PSEG
  Southern Nuclear
  Duke
  Entergy
  Dominion
  Xcel
  FPL
  Talen
  AEP
  TVA
  Energy Northwest
The response represent a total of 68 Nuclear Units

## Slide 5: Benchmark Results (Drawings)
Results varied between the utilities.
Most have multiple drawing update categories.
  High of 9 and low of 2
All utilities are consistent with the highest level category (update with 7-15 days).
Most utilities allowed a number of posted changes to lower level categories before a document update was required.

## Slide 6: Benchmark Results (Calculations)
Results varied between the utilities.
Less consistency with the calculation categories.
  Some allow 5 posted changes against all calculations
  Others have between 2 and 4 calculation categories with varying update frequencies.

## Slide 7: Benchmark Results (Other)
Most that reported consider Vendor documents and critical software in this category.
This is the most inconsistent category of the questionnaire.
A best practice was not identified in this category.

## Slide 8: Benchmark Recommendations (Drawings)
Priority Level | Priority 1 | Priority 2 | Priority 3 | Priority 4
Definition of drawings in this category | Operations Critical: Drawings critical to operation of the plant (Control room drawings). This may include P&IDs, Elementaries, Single Lines etc. anything that has been determined to be critical to the operation of the plant. | Maintenance Significant: Priority Functional drawings / documents that are needed to safely maintain the plant or perform plant analysis. This may include second-tier one-line, elementary, schematic and piping & instrumentation diagrams (flow diagrams), power distribution diagrams, logic diagrams and panel schedules. | Engineering Documents: Documents containing design information that is not routinely used external to Engineering identifying dimensional data or installation details. This may include electrical raceway drawings, HVAC plan drawings, Vendor drawings, Architectural or Structural, Plumbing and Drainage, Masonry, concrete, or rebar schedules, Storm drains or other drawings that documents plant configuration or information typically used in the design process. | Station Reference: Historical (post only) reference drawings not required for safe reliable operation of the station. This may include commercial building drawings, one time usage drawings.
Update frequency | within 15 days of Return to Service (RTS) | within 90 days of RTS | New drawings within 180 days of RTS. Exisitng drawings within 180 days after the 6th posted change | Update as needed. These will not be tracked in the standard performance indicators.

## Slide 9: Benchmark Recommendations (Calculations)
Priority Level | Priority 1 | Priority 2 | Priority 3 | Priority 4
Definition of calculations in this category | Station Significant Calculations: Calculations commonly used by engineering for design information and considrations. These calculatiosn do not use complex analytical analysis tools such as ETAP and flow modeling software. | Complex Calculations: Calculations that utilize complex analytical software to perform the analysis. These calculations typicallys utilize anyalytical models of the system that require specific expertise to perform the updates (i.e. ETAP, flow modeling, etc.). | Other Calculations: Calculations that do not meet the definition of a Station Significant or Complex calculation. | Station Reference: Calculations that contain stand alone design outputs used for design change package development or have no direct impact on Structures, Systems or Components.
Update frequency | new calculations within 90 days of RTS. Existing calculations within 90 days of RTS after the 6th posted change or within 36 months of the first posted change, whichever is first. | new calculations within 24 months of RTS. Existing calculations within 180 days of RTS after the 6th posted change or within 36 months of the first posted change, whichever is first. | new calculations within 90 days of RTS. Existing calculations within 180 days of RTS after the 6th posted change or within 36 months of the first posted change, whichever is first. | Update as needed. These will not be tracked in the standard performance indicators.

## Slide 10: Benchmark Recommendations (Other)
Priority Level | Priority 1 | Priority 2
Definition of calculations in this category | Station Required: Any controlled document that is not considered a drawing or calculation and provides engineering or licensing information. | Station Reference: Documents that are historical in nature and/or contain useful reference information. These documents are not required for safe and reliable plant operation.
Update frequency | within 24 months of RTS | Update as needed. These will not be tracked in the standard performance indicators.