## Slide 1
2025 CMBG Conference – Kansas City
Cloud Software Control
Matthew Yarlett – Portfolio Manager, Digital Technology
Notes: Dena

## Slide 2: Summary of Cloud Software
Nuclear cloud software applications encompass a wide range of business applications including the following:
Enterprise Management
Business Processes
Engineering & Operations Processes
Condition Monitoring
Artificial Intelligence
… and More!

## Slide 3: Benefits of Cloud Applications
These solutions, often offered as Software as a Service (SaaS), provide the following benefits:
Cost Savings
Scalability
Accessibility
Resilience
Integration

## Slide 4: Cloud or On-Premise?
Choosing between cloud and on-premise deployments is a critical decision point and varies based on the application and its function.
Consider:
Access to Prerequisite Data
Ability to Deploy Patches for Security and Function Updates
Training and Troubleshooting
Hosting & Architecture Costs (often a driver)
Collaboration & Access Requirements

## Slide 5: Software Quality Assurance
Still apply the Software Quality Assurance process from the beginning of any project including Requirements Definition, Reviews, Testing, and Training. This can be mutually addressed by the utility and a vendor where applicable but ensure the quality standard applied by the developer meets overall needs.
The best success is applying Software Quality Assurance with a graded approach commensurate with the application and its intended function.
As an additional reference, use industry guidance such as NQA-1, IEEE 730, ISO/IEC/IEEE 90003, ISO/IEC 25000.

## Slide 6: Enterprise Software Summary
Most Enterprise Resource Planning (ERP) systems are credited for their audit-related functions related to configuration management and are critical to the plant. The modern iterations of these systems are deployed both on-premise and in the cloud.
However, many utilities use these multi-purpose software applications for several functions which can impact controls such as which data is saved, how it is managed, etc.

## Slide 7: Enterprise Software Control Challenges
Based on the importance of ERP software to the plant, changes need to be evaluated based on the impact to auditability, control of engineering required fields, as well as management of dynamic processes.
Common challenges to consider in underlying processes:
How to best track and maintain data generated by new processes (e.g. 50.69 classifications)
Timeline to deploy changes aligning to procedure updates
Generating CM data that is a challenge to maintain

## Slide 8: Business Applications
Business Applications are focused on processes that increase productivity, measure productivity, and perform other business functions accurately.
These are commonly either developed by the utilities to support their process goals and/or provided by third party vendors.

## Slide 9: Business Application Challenges
The most common configuration management challenge for business applications is maintaining those applications when the underlying business process has or needs to change.
Examples:
Applications built to support execution of processes (Engineering Changes, Item Equivalencies, Maintenance Rule, 50.59, etc.)
Inventory Management / Supply Chain Processes
Electronic Work Packages
CAP Process

## Slide 10: Engineering / Operations Applications
These are a special type of business application which often monitor or report on engineering parameters or track in-plant processes that me leveraged for compliance purposes. These applications are often extremely dependent on accurate identification on the engineering relationships between measured data.
Challenges:
Plant Modifications may affect the relationship between parameters and/or plant equipment
Physical models need to be maintained
Baseline of model needs to be adjusted over time
There may be requirements for audit that need addressed

## Slide 11: Artificial Intelligence Applications
These applications focus on assisting end-users in performing their role. The quality of the application is highly dependent on the available data, including the underlying procedures and processes.
Challenges:
Understanding of when models are updated, resulting in varying responses
How best to apply the results and verify outputs as applicable to ensuring results represent the plant design versus general data or relationships
Legal Implications and Intellectual Property Controls

## Slide 12: Lessons Learned and Benchmarking
End Users and Implementing Team need to be aligned on expectations. Ask: Can changes be deployed without interrupting a critical process?
If an underlying process/procedure changes, ensure the software team addresses those updates at the right time to align with deployment of the process/procedure change.
Ensure the process for managing software issues, bugs, or training is flexible enough to support the end-users.
Critical to have good communication between process owners and the application team.
Training and knowledge retention for use of the tools/applications deployed.
Clear understanding on terms of use/license. Focus on Intellectual Property and data management as it applies.

## Slide 13
Thank you!
Notes: Jaime