SDP What does good look like

- Intent of the alternate screening questions is to provide efficiency in the process by eliminating the screening.

- Design Inputs:

  - some plants require shall statements in the design inputs and direct value inputs (do not allow percentage type requirements).

- How many FCRs is acceptable

  - TVA expects FCRs (planned)

  - SNC strives for 0 (even planned) but sometimes that is unavoidable

  - Palo Verde high  numbers -expectation is FCR for any type fix

  - some facilities count FCRs as addendum

  - Duke does straight revisions. Does not use FCRs.

- Take backs to the DOWG

  - What do we need to do from a CMBG perspective to help influence the DOWG.

  - is there an effort for a simple digital device process.

    - Constellation developed a digital lite process

  - We will get an updated list of DOWG reps and put it on the CMBG website.

- Hoe long does it take to qualify a new engineer

  - most are 18 months to 2 years

- who has a Quality review team required

  - It is not consistent across all utilities, Some have periodic QAR. Some only if required by risk.