## Slide 1: AI-Driven Obsolescence Solutions June 22, 2026 Matt Yarlett

## Slide 2: The Industry Challenge
Aging plant assets → increasing obsolescence challenges
Supplier changes due to changing market conditions
Loss of experienced engineering knowledge
More frequent need for qualified replacements
Rising volume and complexity of IEEs

## Slide 3: How Engineers Use AI Today
AI Assistants in the IEE Workflow
Search & summarize large technical documents
Identify critical characteristics & requirements
Compare original vs. replacement components
Draft structured content for engineering review
Implemented Correctly
Grounded in engineering data & procedures
Context-aware (understands current IEE, data, workflow)
Provides source-backed, traceable outputs
Keeps engineer in control of decisions

## Slide 4: Vision for AI Usage Moving Forward
Support the Identification of Potential Solutions
Evaluate Solution Options (Surplus, IEE, Design Change)
Identify Proactive Bridging Strategies for Challenging Parts
Dynamic Prioritization of Obsolescence based on Plant Conditions
Helps Engineers Maintain Plant Documentation Accurately with High Quality
• Identify Affected Documents, including discovery of obscure references
• Ensure Procedural Alignment

## Slide 5: Practical IEE Use Case
Scenario: Outage-Critical IEE Over the Weekend
Work Order identified an unexpected component failure
Emergent replacement of electrical equipment needed
Limited SME availability (weekend / off-hours)
Junior engineer assigned critical IEE
Bottom Line: Outage delays have real business impacts related to cost, labor, materials, etc. Utilities need solutions that minimize or mitigate risk.

## Slide 6: Practical IEE Use Case (Cont.)
AI-Assisted Workflow Key steps AI can assist with in an Item Equivalency Evaluation
Reference Guidelines & References
Site-specific and industry guidelines and references
Gather & Summarize Documentation
Vendor documentation gathered and condensed
Identify Requirements & Characteristics
Including drawings, calculations, and specifications
Compare Original vs. Replacement
Flags options that implement fastest — lead time and effort
Draft Evaluation Content
Prepared for engineering review

## Slide 7: What “Good” AI Looks Like in Nuclear
The most trusted AI behaves less like a search engine and more like an engineer that shows their work.
Traceability
Shows sources and references that can be independently verified
Context Awareness
Understands the engineering task, system, and documents in play
Transparency
Explains where information came from and how conclusions formed
Accuracy Over Confidence
Admits uncertainty rather than guessing
Collaboration
Supports iterative dialogue instead of requiring perfect prompts
Knowledge Integrations
Connects information across multiple data sources

## Slide 8: From Assistants to Agents
Chatbot Limitations
Reactive → requires constant prompting
Engineer drives every step
Inconsistent outputs if poorly prompted
With the Right AI Foundation, Agents Can Be Built
From answering questions → completing tasks
From assisting → orchestrating workflows
From reactive responses → proactive guidance

## Slide 9: How an IEE Agent Works
1
Understand the Task
Reads the request and the engineer's input & context
2
Break Into Steps
Decomposes the IEE into a structured to-do list
3
Select the Right Tools
Skill files, research, evaluation, workspace & human-in-loop
4
Synthesize Sources
Document ingestion and deep analysis across knowledge bases
5
Iterate to Output
Drafts a reviewable IEE in an editable document workspace
Agent orchestrates tools to present a drafted IEE to the user.

## Slide 10: Full AI-driven Obsolescence/IEE Capabilities
Full IEE Workflow
Screening
Is an IEE required?
Determine Approach
Short vs. long form
Evaluate
Characteristics & comparison
Generate
Structured IEE output
Beyond the Foundational Use Case — known original + replacement
Original Only
Generate requirements and critical characteristics to qualify a replacement
Multiple Options
Compare candidate replacements and recommend the best fit
No Replacement Yet
Search industry sources and documentation to identify viable replacement options

## Slide 11: Big Picture
From Obsolescence Management to Engineering Intelligence
Engineering Data
Documents & Vendor Info
Industry OE
Enterprise Systems
AI Agent — an intelligence layer across every source
Issue Identified
Obsolescence flagged
Analyze
Data, documents & options
Identify Solution
Availability & lead time
Generate Docs
Engineering output for review
Why it matters
Faster resolution of critical issues
More consistent, high-quality evaluations
Better decisions with less effort